FACSCanto II c - software parameters and fluorochromes

|  |  |  |
| --- | --- | --- |
| **Laser** | **Collection Filter (bandpass)** | **Fluorochromes** |
| 488nm Blue | 530/30 | FITC, Alexa 488, eGFP, CFSE, Dye Cycle Green |
| 585/42 | PE,Cy3, Sytox-Orange, Dye Cycle Orange |
| 616/23 | PE-Texas Red, PE-AF610, PI |
| 670LP | PE-Cy5 (also “tricolour” or “cychrome”), 7AAD, PerCP |
| 780/60 | PE-Cy7 |
| 633nm Red | 660/20 | APC, Alexa 633, Alexa 647, TO-PRO-3, Cy5, DRAQ5, DRAQ7, Dye Cycle Ruby |
| 730/45 | APC-Cy5.5, DRAQ7, Dye Cycle Ruby, Alexa Fluor 700 |
| 780/60 | APC-Cy7, DRAQ7, Alexa Fluor 750 |

* Only common fluorochromes are listed; please consult FACS Lab staff if your fluorochrome is not present.